# Measurement protocol

The sampling interval is 0.25 seconds. Each discharge trial lasts 20 seconds. The protocol requires three independent trials. Voltage is recorded in volts and time in seconds.

# Analysis protocol

Exclude nonpositive voltage observations before taking logarithms. Fit logarithmic voltage against time using linear regression. Retain the immutable input version and the executed code hash with every analysis result.

# Reporting protocol

Report the fitted time constant separately from the nominal time constant. Cite the source page for a theoretical statement. The protocol does not authorize invented measurements.